{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":46,"n_cols":6,"rows_kept":46,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","AVA-A"]
[]
[]
[]
[]
["","","","","","AVA125AMVE"]
["Učin hlađenja","Ukupan učin","","Nom.","kW","12.10"]
["Učin grijanja","Ukupni učin","","Nom.","kW","13.5"]
["Kućište","Boja","","","","Svježe bijelo"]
["Dimenzije","Uređaj","","Visina","mm","1850"]
["","","","Širina","mm","600"]
["","","","Dubina","mm","350"]
["Težina","Uređaj","","","kg","50"]
["Ventilator","Količina zraka","Hlađenje","Visoko","m³/min","28"]
["","Protok zraka","Hlađenje","Srednji","m³/min","26"]
["","","","Nizak","m³/min","24"]
["","","Grijanje","Visoko","m³/min","28"]
["","Protok zraka","Grijanje","Srednji","m³/min","26"]
["","","Grijanje","Nizak","m³/min","24"]
["Zvučna snaga","Hlađenje","","","dBA","63"]
["Razina tlaka zvuka","Hlađenje","","Visoko","dBA","51"]
["Razina zvučnog tlaka","Hlađenje","","Srednji","dBA","48"]
["Razina tlaka zvuka","Hlađenje","","Nizak","dBA","46"]
["","Grijanje","","Visoko","dBA","51"]
["Razina zvučnog tlaka","Grijanje","","Srednji","dBA","46"]
["Razina tlaka zvuka","Grijanje","","Nom.","dBA","48"]
["Priključci cjevovoda","Tekućina","","VP","mm","9.52"]
["","Plin","","VP","mm","15.9"]
["","Odvod vode","","","","I.D. 20/O.D. 26"]
["Upravljački sustavi","Žično daljinsko upravljanje","","","","BRC1D528, BRC1E53A7, BRC1E53B7, BRC1E53C7"]
["Standardna dodatna oprema","Installation manual","","","","1"]
["","Hole protection rubber","","","","2"]
["","Cover","","","","1"]
["","Dew proof material","","","","1"]
["","Remote control wiring","","","","1"]
["","Bracket for installation","","","","1"]
["","Operation manual","","","","1"]
["","Bush","","","","1"]
["","Installation pattern","","","","1"]
["","Insulation for fitting for gas pipe","","","","1"]
["","Insulation for fitting for liquid pipe","","","","1"]
["","Screws","","","","5"]
["","Tie-wraps","","","","5"]
["Napajanje","Faza","","","","1~"]
["","Frekvencija","","","Hz","50/60"]
["","Napon","","","V","220-240/220"]