{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":18,"n_cols":3,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","RRDQ-V1"]
[]
[]
[]
[]
["","","RRDQ220V1"]
["Standardna dodatna oprema","1/4\" crijevo za punjenje i kuglasti ventil (crveno) 152 cm (AR344)","1/4\" crijevo za punjenje i kuglasti ventil (crveno) 152 cm (AR344)"]
["","1/4\" crijevo za punjenje i kuglasti ventil (plavo) 152 cm (AR345)","1/4\" crijevo za punjenje i kuglasti ventil (plavo) 152 cm (AR345)"]
["","Filter (TF011)","Filter (TF011)"]
["","Spremnik filtra/sušača s molekularnim sitom (AR179E)","Spremnik filtra/sušača s molekularnim sitom (AR179E)"]
["","Vizir 1/4\" (ES603)","Vizir 1/4\" (ES603)"]
["","Konusni spoj 1/4\" ženski x 1/4\" muški (BF0020)","Konusni spoj 1/4\" ženski x 1/4\" muški (BF0020)"]
["","Upute za rad RRDQ220V1 (IM0496)","Upute za rad RRDQ220V1 (IM0496)"]
["","Adapter za punjenje tekućine 1/4\" - Koristi se za recikliranu  R134a (opcije i dodatna oprema)","Adapter za punjenje tekućine 1/4\" - Koristi se za recikliranu  R134a (opcije i dodatna oprema)"]
["Napomene","","(1) - Specifikacije podliježu izmjenama bez prethodne najave"]
["","","(2) - Brzina recikliranja ovisi o različitim uvjetima"]
["","","(3) - Prilikom recikliranja R134a, slijedite upute za rad na stranici 11"]
["","","(4) - Rezultati recikliranja ovise o onečišćenju radne tvari koja se reciklira"]